TYPE EVALUATION TEST REPORT

Non-automatic weighing instrument

{{ standard_title }}

{{ national_clause }}

| Report number | {{ ref }} |
| --- | --- |
| Testing laboratory | {{ lab.name }} ({{ lab.code }}) |
| Application number | {{ application_no or '—' }} |
| Applicant | {{ applicant or '—' }} |
| Evaluation period | {{ evaluation_from or '—' }} to {{ evaluation_to or '—' }} |
| Date of report | {{ report_date }} |
| Status | {{ status }} |
| Approval mark | {{ approval_mark or 'not yet assigned' }} |

A.  General information concerning the type

| Manufacturer | {{ instrument.manufacturer }} |
| --- | --- |
| Model | {{ instrument.model }} |
| Serial number | {{ instrument.serial or '—' }} |
| Instrument category | {{ instrument_type_label }} |
| Accuracy class | {{ derived.class_symbol }} |
| Indication | {{ indication_label }} |
| Maximum capacity, Max | {{ fmt(instrument.max_capacity_g) }} |
| Minimum capacity, Min | {{ fmt(instrument.min_capacity_g) }} |
| Verification scale interval, e | {{ fmt(instrument.e_g) }} |
| Actual scale interval, d | {{ fmt(instrument.d_g) }} |
| Number of intervals, n = Max/e | {{ '{:,.0f}'.format(derived.n) }} |
| Temperature range | {{ instrument.temp_low_c }} °C to {{ instrument.temp_high_c }} °C |
| Software version | {{ instrument.software_version or '—' }} |
| Software checksum | {{ instrument.software_checksum or '—' }} |
| Load cell | {{ load_cell_text }} |
| Standard weights used | {{ instrument.weight_set or weight_set_id or '—' }} |

B.  Information concerning the test equipment used

| Standard weights used | {{ instrument.weight_set or weight_set_id or '—' }} |
| --- | --- |
| Weight class | {{ weight_class or 'as recorded in the weight set' }} |
| Traceability | {{ traceability or 'Certificates held by the laboratory' }} |
| Testing laboratory | {{ lab.name }} ({{ lab.code }}) |

C.  Examination of the declared specification

Checked against {{ standard_title }}, clause 3.2 and Table 3 before any test data was recorded.

[[TABLE:tbl_specification]]

D.  Summary of type evaluation

[[TABLE:tbl_summary]]

1.  Weighing performance

A.4.4.1, A.4.4.3

P = I + ½e − ΔL,   E = P − L,   Ec = E − E₀.  Ec is compared against the maximum permissible error for the applied load.

[[TABLE:tbl_weighing]]

2.  Temperature effect on no-load indication

Not carried out in this evaluation. This report covers the tests listed in the summary above; the remaining tests of the form are shown here so that the section numbering matches the published format and the omission is explicit.

3.  Eccentricity

A.4.7

The load is applied to the centre and to each quarter segment of the load receptor. Each indication shall stay within the mpe for that load.

[[TABLE:tbl_eccentricity]]

4.  Discrimination and sensitivity

Not carried out in this evaluation. This report covers the tests listed in the summary above; the remaining tests of the form are shown here so that the section numbering matches the published format and the omission is explicit.

5.  Repeatability

3.6.1

The difference between the results of several weighings of the same load shall not be greater than the absolute value of the mpe for that load.

[[TABLE:tbl_repeatability]]

6.  Time-dependence

A.4.11.1

Within the first 30 minutes the indication shall not differ by more than 0.5 e.

[[TABLE:tbl_creep]]

7.  Stability of equilibrium

Not carried out in this evaluation. This report covers the tests listed in the summary above; the remaining tests of the form are shown here so that the section numbering matches the published format and the omission is explicit.

8.  Tilting

Not carried out in this evaluation. This report covers the tests listed in the summary above; the remaining tests of the form are shown here so that the section numbering matches the published format and the omission is explicit.

9.  Tare (weighing test)

Not carried out in this evaluation. This report covers the tests listed in the summary above; the remaining tests of the form are shown here so that the section numbering matches the published format and the omission is explicit.

10.  Warm-up time

Not carried out in this evaluation. This report covers the tests listed in the summary above; the remaining tests of the form are shown here so that the section numbering matches the published format and the omission is explicit.

11.  Voltage variations

Not carried out in this evaluation. This report covers the tests listed in the summary above; the remaining tests of the form are shown here so that the section numbering matches the published format and the omission is explicit.

12.  Electrical disturbances

B.3

The difference between the indication with and without the disturbance shall not exceed 1 e, or the instrument shall detect and react to a significant fault.

[[TABLE:tbl_disturbances]]

13.  Damp heat, steady state

Not carried out in this evaluation. This report covers the tests listed in the summary above; the remaining tests of the form are shown here so that the section numbering matches the published format and the omission is explicit.

14.  Span stability

Not carried out in this evaluation. This report covers the tests listed in the summary above; the remaining tests of the form are shown here so that the section numbering matches the published format and the omission is explicit.

15.  Endurance

Not carried out in this evaluation. This report covers the tests listed in the summary above; the remaining tests of the form are shown here so that the section numbering matches the published format and the omission is explicit.

16.  Examination of the construction of the instrument

Not carried out in this evaluation. This report covers the tests listed in the summary above; the remaining tests of the form are shown here so that the section numbering matches the published format and the omission is explicit.

17.  Checklist

Not carried out in this evaluation. This report covers the tests listed in the summary above; the remaining tests of the form are shown here so that the section numbering matches the published format and the omission is explicit.

E.  Conclusion

{{ conclusion_text }}

| Overall verdict | {{ computed.verdict }} |
| --- | --- |
| Standard applied | {{ standard_id }} |
| Independent recompute | {{ 'server reproduced every client verdict' if computed.agrees_with_client else 'DIVERGENCE — see below' }} |
| Payload digest (SHA-256) | {{ payload_sha256 }} |

Places where the verification seal or stamp may be affixed (Approval of Models Rules, 2011, Rule 11(1)(g)):

{{ seal_locations or '—' }}

F.  Signatures

| Tested by | Verified by | Approved by |
| --- | --- | --- |
| {{ tested_by or '' }} signature and date | {{ verified_by or '' }} signature and date | {{ approved_by or '' }} signature and date |

{{ synthetic_notice }}

Generated by the NAWI type-evaluation system. Clause references are to {{ standard_title }}; the corresponding Indian provisions are in the Legal Metrology (General) Rules, 2011, Seventh Schedule, Heading A.